## Required Documents & Steps
High Efficiency Lighting Program
(HELP)
HELP STEPS:
| 1) | Read instructions (tab 2) in this document
| 2) | Complete application paperwork (see below)
| 3) | Arrange pre-installation inspection when contacted by CMLP's Electrician
| 4) | CMLP will email you the expected rebate amount with documentation
| 5) | Install lighting & controls
| 6) | Contact CMLP when installation is complete
| 7) | Arrange post-installation inspection with CMLP's Electrician
| 8) | CMLP will request completion paperwork (see below)
| 9) | CMLP will email you the official rebate approval with documentation
| 10) | Rebate check will arrive within 6 weeks (see notes below)
REQUIRED DOCUMENTS:
Application Paperwork:
| 1) | Rebate Application (Excel)
| 2) | Customer Information Sheet (tab 3) - Completed & Signed (pdf)
| 3) | Rebate Terms & Conditions (4th tab from end) - Signed (pdf)
| 4) | Manufacturer's specification sheets for proposed lighting & controls (pdf)
Completion Paperwork:
| 1) | Customer Acknowledgement of Satisfaction - Signed (pdf)
| 2) | Invoice / receipt
| 3) | Lighting Waste Disposal Form (3rd tab from end) - Completed & Signed (pdf)
NOTES:
Parking lot lighting:
Due to difficulty verifying lamp wattages because of the height of parking lot lights, CMLP's Electrcian must be present when the work is being done. At that time he can conduct both the pre- and post-installation inspections.
Rebate checks for ≥$600 require IRS forms:
Rebates for >$750 are normally issued as checks from Town House.
Commercial entities receiving checks ≥$600 will get a 1099 from Town for the
relevant tax year, if rquired by tax code. Rebates issued as checks ≥$600 require
a copy of IRS’s Oct 2018 or newer revised W-9 form. Customers may choose to
have checks issued to installers or themselves, or to receive a bill credit instead.
If a customer requesting a check has been in arrears frequently in the past two years, CMLP may apply all or part of the rebate as a bill credit rather than as a check.

## Form Instructions
Instructions for the High Efficiency Lighting Rebate Application
Click on the tabs at the bottom of the window to access each page of the application.
Instructions for each page are below.
All Pages: |  | ***Note: All projects must have pre-installation inspections by CMLP staff***
Fields that accept data are shaded yellow (see the yellow tabs: Customer Info, Type Codes, Lighting Savings,
Lighting Control Savings, & Rebate Calculation). Fields that are automatically calculated based on the data
entered are not shaded. The tab key can be used to move forward from one field to the next. Holding the
shift key while pressing the tab key will move backward to the previous field. Location information
should be specific (e.g. Conference Room 1st Floor). If you have a building or site map (hand-drawn is fine),
please include a pdf of it with the application. A map is not required, but it makes our Electrician's
pre- and post-installation inspections easier.
Customer Information Tab: General information about the customer & contractor
Type Codes Tab: Enter information in the yellow cells for each proposed lighting type. Lamps must be DLC
or Energy Star listed, but do not need to be both. White cells in the Lighting Savings & Lighting Controls
tabs will populate automatically according to the type code you assign. A spec sheet is required for each.
Lighting Savings Tabs: Indoor & outdoor lighting is eligible. If you need more rows than are available,
contact us at the below address for an expanded spreadsheet.
Lighting Controls Savings Tab: Indoor & outdoor lighting controls are eligible. Note: for occupancy sensors,
the spreadsheet will calculate energy savings by multiplying the total kW controlled by the average fraction
of load reduction expected to occur during CMLP's monthly demand peaks. These average fractions are:
| - Indoor occupancy sensors: 19% |  |  | - Exterior occupancy sensors: 3.9%
| - Indoor photocells: 7.5% |  |  | - Exterior photocells: 12.5%
Rebate Calculation Tab: Enter only the total project cost and previous HELP rebates. If you don't know
previous HELP rebate information, leave these fields blank for us to fill in. The spreadsheet automatically
calculates the rebate.
Terms & Conditions Parts I, II, III & IV: These rebate terms and conditions require a signature on Part IV.
You may print the form and hand sign it, or enter a scanned or typed signature.
Lighting Waste Disposal Form: This form must be submitted to CMLP after post-installation inspection.
Technology Requirements Parts I & II: All projects must comply with these rebate requirements.
Submit Application: Send the 4 application documents (see the Req'd Docs tab) to pcady@concordma.gov
Questions? Contact Pamela Cady, CMLP's Energy Specialist at (978) 318-3149 or pcady@concordma.gov
pcady@concordma.
pcady@concordma.gov

## Customer Info
High Efficiency Business Programs
High Efficiency Lighting Program
Business Name | Location Name or DBA (if different from Business Name)
Installation Address
Mailing Address (if different from above) | City |  | State | Zip Code
Electric Account #
Contact Name |  | Daytime Phone Number
Email
Customer's Signature |  | Date
Company Name | Street Address
Contact Name | City |  | State | Zip Code
Email |  | Daytime Phone Number
OR
Company Type:
Tax ID # of Contractor / Vendor |  |  |  |  | Fill in information in this box if check is payable to Contractor / Vendor
LIGHTING REBATE APPLICATION
1. CUSTOMER INFORMATION (please type or print) & CUSTOMER SIGNATURE
ALL SPECIFICATION SHEETS MUST BE INCLUDED WITH YOUR FULLY COMPLETE AND SIGNED APPLICATION OR APPLICATION WILL BE RETURNED.
ATTENTION:
I certify that all the information in the application is correct to the best of my knowledge. I have signed and submitted the Rebate Terms & Conditions in this application booklet. The equipment and installation methods comply with the High Efficiency Lighting Program Technology Requirements at the end of this application booklet. I understand that I must obtain CMLP's approval of this rebate application *PRIOR TO EQUIPMENT INSTALLATION,* in order to qualify for a rebate. Once installation is complete, I understand that, in order to receive a rebate payment, I must submit the Completion Paperwork described at http://www.concordma.gov/2003/Commercial-Lighting-Rebates---HELP.
2. CONTRACTOR / VENDOR INFORMATION (please type or print)
OFFICE USE ONLY
Date Received
________
NO
Pre-Inspected?
Post-Inspected?
YES
YES
NO
Date _______ Initials ______
Date _______ Initials ______
TOTAL REBATE AMOUNT
$
Check here if you DO NOT permit us to use your business name in Lighting Program advertising (eg website, newspaper ad).
3. PAYMENT METHOD (please choose lump sum check or rebate applied to bill)
CHECK PAYABLE TO:
Apply rebate to our account
Incorporated
Not Incorporated
Exempt
Customer
Contractor / Vendor
Rebate pre-approved?
Rebate payment approved?
YES
YES
NO
Date _______ Initials ______
Date _______ Initials ______
NO
Date _______ Initials _____
n/a - Parking Lot

## Definitions
Bulb Certification Codes
Device Code | from Massachusetts Device Codes & Rated Lighting System Wattage Table:
https://www1.nationalgridus.com/files/AddedPDF/POA/Lighting_MA_Retrofit_DeviceCodes.pdf
Lamp & Ballast Codes
BX | Biaxial / Twin Tube Lamp
CFL | Compact Fluorescent Lamp
EE | Energy Efficiency Lamp
ELIG | Electronic Ballast
EEMAG | Energy Efficiency Magnetic Ballast
HO | High Output Lamp
HW | Hard Wire Fixture
LED | Light Emitting Diode
STD | Standard Ballast or Lamp
VHO | Very High Output Lamp
Lighting Control Codes
OSI | Occupancy Sensor - Interior Lighting
OSE | Occupancy Sensor - Exterior Lighting
PCI | Photocell - Interior Lighting
PCE | Photocell - Exterior Lighting

## Type Codes
PROPOSED LIGHTING SYSTEM
Assign Type Code | Fixture Details |  |  | Certified by | Lamp Features |  |  |  |  | Sending Spec Sheet to CMLP?
| LED Fixture Type | Manufacturer's Full Product Code 2 | Watts / Fixture | DLC or Energy Star | Dimmable? | Replace Fixture or Retrofit Kit | Damp OK? | Enclosed OK? | Notes |  | DLC | Yes | Retrofit
A | 2L'10W TL LED 4ft T8 | T4815840/AB /LED/MP/12 | 20 | DLC | Yes | Retrofit | Yes | Yes |  | Yes | Energy Star | No | Replace
B | 2L'10W TL LED 4ft T8 | T4815840/AB /LED/MP/12 | 18 | DLC | No | Retrofit | No | No |  | Yes
C | 2L'10W TL LED 4ft T8 | T4815840/AB /LED/MP/12 | 6 | Energy Star | Yes | Replace | No | Yes |  | Yes
2 from manufacturer's specification sheets

## Lighting Savings, p1
| INVENTORY / ENERGY SAVINGS - LIGHTING EQUIPMENT - ***Note: CMLP staff must inspect project site before install*** | [12 empty] | Form Revised: |  | 2022-04-06
| EXISTING LIGHTING SYSTEM | [8 empty] | PROPOSED LIGHTING SYSTEM |  |  |  |  | Estimated Savings kWh kW / yr ↓
Row # | Location | Fixture Use |  |  |  | Fixture Details |  |  |  | Fixture Details
|  | Hours | Days | Weeks | Annual Hours | # of Fixtures | Fixture Type | Device Code1 | Watts / Fixture | # of Fixtures | Fixture Type | Manufacturer's Full Product Code 2 | Type Code3 | Watts / Fixture
in Use per
|  | Day | Week | Year
| Example: Conf. Room 1st Floor | 12 | 5 | 52 | 3120 | 4 | 2L4’T8/ELIG | 2F32SSE | 60 | 4 | 2L'10W TL LED 4ft T8 | T4815840/AB /LED/MP/12 | A | 20 | 940.16 | 0.16
--- Basement ---
1 |  |  |  |  | 0
2 |  |  |  |  | 0
3 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
8 |  |  |  |  | 0
9 |  |  |  |  | 0
10 |  |  |  |  | 0
11 |  |  |  |  | 0
12 |  |  |  |  | 0
--- 1st Floor ---
13 |  |  |  |  | 0
14 |  |  |  |  | 0
15 |  |  |  |  | 0
16 |  |  |  |  | 0
17 |  |  |  |  | 0
18 |  |  |  |  | 0
19 |  |  |  |  | 0
20 |  |  |  |  | 0
21 |  |  |  |  | 0
22 |  |  |  |  | 0
23 |  |  |  |  | 0
24 |  |  |  |  | 0
25 |  |  |  |  | 0
26 |  |  |  |  | 0
27 |  |  |  |  | 0
28 |  |  |  |  | 0
29 |  |  |  |  | 0
30 |  |  |  |  | 0
31 |  |  |  |  | 0
32 |  |  |  |  | 0
33 |  |  |  |  | 0
34 |  |  |  |  | 0
35 |  |  |  |  | 0
36 |  |  |  |  | 0
37 |  |  |  |  | 0
38 |  |  |  |  | 0
39 |  |  |  |  | 0
40 |  |  |  |  | 0
45 |  |  |  |  | 0
46 |  |  |  |  | 0
47 |  |  |  |  | 0
48 |  |  |  |  | 0
49 |  |  |  |  | 0
50 |  |  |  |  | 0
51 |  |  |  |  | 0
52 |  |  |  |  | 0
53 |  |  |  |  | 0
54 |  |  |  |  | 0
55 |  |  |  |  | 0
| Total Quantity - Existing: |  |  |  |  | 0 | Total Quantity - Proposed: |  |  | 0 |  |  |  |  | 0 | 0
1 from linked table in Definitions tab 2 from manufacturer's specification sheets 3 from Type Codes tab

## Lighting Savings, p2
| INVENTORY / ENERGY SAVINGS - LIGHTING EQUIPMENT - ***Note: CMLP staff must inspect project site before install*** | [12 empty] | Form Revised: |  | 2022-04-06
| EXISTING LIGHTING SYSTEM | [8 empty] | PROPOSED LIGHTING SYSTEM |  |  |  |  | Estimated Savings kWh kW / yr ↓
Row # | Location | Fixture Use |  |  |  | Fixture Details |  |  |  | Fixture Details
|  | Hours | Days | Weeks | Annual Hours | # of Fixtures | Fixture Type | Device Code1 | Watts / Fixture | # of Fixtures | Fixture Type | Manufacturer's Full Product Code 2 | Type Code3 | Watts / Fixture
in Use per
|  | Day | Week | Year
| Example: Conf. Room 1st Floor | 12 | 5 | 52 | 3120 | 4 | 2L4’T8/ELIG | 2F32SSE | 60 | 4 | 2L'10W TL LED 4ft T8 | T4815840/AB /LED/MP/12 | A | 20 | 940.16 | 0.16
--- Second Floor ---
56 |  |  |  |  | 0
57 |  |  |  |  | 0
58 |  |  |  |  | 0
59 |  |  |  |  | 0
60 |  |  |  |  | 0
61 |  |  |  |  | 0
62 |  |  |  |  | 0
63 |  |  |  |  | 0
64 |  |  |  |  | 0
65 |  |  |  |  | 0
--- Third Floor ---
66 |  |  |  |  | 0
67 |  |  |  |  | 0
68 |  |  |  |  | 0
69 |  |  |  |  | 0
70 |  |  |  |  | 0
71 |  |  |  |  | 0
72 |  |  |  |  | 0
73 |  |  |  |  | 0
74 |  |  |  |  | 0
75 |  |  |  |  | 0
76 |  |  |  |  | 0
77 |  |  |  |  | 0
78 |  |  |  |  | 0
79 |  |  |  |  | 0
80 |  |  |  |  | 0
81 |  |  |  |  | 0
82 |  |  |  |  | 0
83 |  |  |  |  | 0
84 |  |  |  |  | 0
85 |  |  |  |  | 0
86 |  |  |  |  | 0
87 |  |  |  |  | 0
88 |  |  |  |  | 0
89 |  |  |  |  | 0
90 |  |  |  |  | 0
91 |  |  |  |  | 0
92 |  |  |  |  | 0
93 |  |  |  |  | 0
94 |  |  |  |  | 0
95 |  |  |  |  | 0
96 |  |  |  |  | 0
97 |  |  |  |  | 0
98 |  |  |  |  | 0
99 |  |  |  |  | 0
100 |  |  |  |  | 0
101 |  |  |  |  | 0
102 |  |  |  |  | 0
103 |  |  |  |  | 0
104 |  |  |  |  | 0
| Total Quantity - Existing: |  |  |  |  | 0 | Total Quantity - Proposed: |  |  | 0 | Total Demand & Energy Saved (this tab): |  |  |  | 0 | 0
1 from linked table in Definitions tab 2 from manufacturer's specification sheets 3 from Type Codes tab

## Lighting Savings, p3
| INVENTORY / ENERGY SAVINGS - LIGHTING EQUIPMENT - ***Note: CMLP staff must inspect project site before install*** | [12 empty] | Form Revised: |  | 2022-04-06
| EXISTING LIGHTING SYSTEM | [8 empty] | PROPOSED LIGHTING SYSTEM |  |  |  |  | Estimated Savings kWh kW / yr ↓
Row # | Location | Fixture Use |  |  |  | Fixture Details |  |  |  | Fixture Details
|  | Hours | Days | Weeks | Annual Hours | # of Fixtures | Fixture Type | Device Code1 | Watts / Fixture | # of Fixtures | Fixture Type | Manufacturer's Full Product Code 2 | Type Code3 | Watts / Fixture
in Use per
|  | Day | Week | Year
| Example: Conf. Room 1st Floor | 12 | 5 | 52 | 3120 | 4 | 2L4’T8/ELIG | 2F32SSE | 60 | 4 | 2L'10W TL LED 4ft T8 | T4815840/AB /LED/MP/12 | A | 20 | 940.16 | 0.16
--- Fourth Floor ---
105 |  |  |  |  | 0
106 |  |  |  |  | 0
107 |  |  |  |  | 0
108 |  |  |  |  | 0
109 |  |  |  |  | 0
110 |  |  |  |  | 0
111 |  |  |  |  | 0
112 |  |  |  |  | 0
113 |  |  |  |  | 0
114 |  |  |  |  | 0
--- Top Floor ---
115 |  |  |  |  | 0
116 |  |  |  |  | 0
117 |  |  |  |  | 0
118 |  |  |  |  | 0
119 |  |  |  |  | 0
120 |  |  |  |  | 0
121 |  |  |  |  | 0
122 |  |  |  |  | 0
123 |  |  |  |  | 0
124 |  |  |  |  | 0
125 |  |  |  |  | 0
126 |  |  |  |  | 0
127 |  |  |  |  | 0
128 |  |  |  |  | 0
129 |  |  |  |  | 0
130 |  |  |  |  | 0
131 |  |  |  |  | 0
132 |  |  |  |  | 0
133 |  |  |  |  | 0
134 |  |  |  |  | 0
135 |  |  |  |  | 0
136 |  |  |  |  | 0
137 |  |  |  |  | 0
138 |  |  |  |  | 0
139 |  |  |  |  | 0
140 |  |  |  |  | 0
141 |  |  |  |  | 0
142 |  |  |  |  | 0
143 |  |  |  |  | 0
144 |  |  |  |  | 0
145 |  |  |  |  | 0
146 |  |  |  |  | 0
147 |  |  |  |  | 0
148 |  |  |  |  | 0
149 |  |  |  |  | 0
150 |  |  |  |  | 0
151 |  |  |  |  | 0
152 |  |  |  |  | 0
153 |  |  |  |  | 0
| Total Quantity - Existing: |  |  |  |  | 0 | Total Quantity - Proposed: |  |  | 0 | Total Demand & Energy Saved (this tab): |  |  |  | 0 | 0
1 from linked table in Definitions tab 2 from manufacturer's specification sheets 3 from Type Codes tab

## Lighting Controls Savings
Light Savings Row # | INVENTORY / ENERGY SAVINGS - INDOOR LIGHTING CONTROLS - ***Note: All projects must have pre-installation inspections by CMLP staff*** | [13 empty] | Form Revised: |  | 2022-04-06 | (F * O) | (J - N) | (F * P) | Code | VLook
| Location | Type Code | Lighting Control Code (see below) | # of Control Devices | Total # of Fixtures Controlled by Device(s) | Fixture In-Use or Dimmed Hours per Year | [7 empty] | Watts / Fixture BEFORE AFTER Control Installed ↓ ↓ |  | Estimated Savings |  | Watts of Total # Fixtures before Dim | Change in Fixture Hours / Year via Control | Watts of Total # Fixtures after Dim
[6 empty] | BEFORE Control Installed |  |  |  | AFTER Control Installed
[6 empty] | Hours | Days | Weeks | Annual Hours | Hours | Days | Weeks | Annual Hours
[6 empty] | in Use per |  |  |  | in Use per | [5 empty] | kWh | kW
[6 empty] | Day | Week | Year |  | Day | Week | Year |  |  |  | / yr |  |  |  |  | OSE | 0.039
Sample | Conf. Room 1st Floor | A | OSI | 1 | 6 | 13 | 5 | 52 | 3380 | 6 | 5 | 52 | 1560 | 27 |  | 294.84 | 0.030848 | 162 | 1820 | 0 | OSI | 0.19042 | 0.030848
| Conf. Room 1st Floor | A | DIM | 1 | 6 |  |  |  |  | 3 | 5 | 52 | 780 | 27 | 19.926 | 33.1063 | 0.042444 | 162 | -780 | 119.556 | PCE | 0.125
| Conf. Room 1st Floor | A | TRIM | 1 | 6 |  |  |  |  | 6 | 5 | 52 | 1560 | 27 | 22.95 | 37.908 | 0.0243 | 162 | -1560 | 137.7 | PCI | 0.075
--- Upper Floor --- | [17 empty] | 0 | 0 | 0 | DIM
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0 | TRIM
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
--- Lower Floor ---
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[9 empty] | 0 |  |  |  | 0 |  |  |  |  | #VALUE! | 0 | 0
[15 empty] | Total Demand & Energy Saved (this tab): | 0 | 0
| Controls: |  | Fixtures: | Lighting Control Codes
|  | 0 | 0 | OSI | Occupancy Sensor - Interior Lighting
|  | 0 | 0 | OSE | Occupancy Sensor - Exterior Lighting
|  | 0 | 0 | PCI | Photocell - Interior Lighting
|  | 0 | 0 | PCE | Photocell - Exterior Lighting
|  | 0 | 0 | DIM | Dimming Capabilities Enabled w/o Other Controls
|  | 0 | 0 | TRIM | Permanent Wattage Reduction - Enabled 100% of Time Lamp in Use
Note on AM7: Jan Aceti: The Massachusetts Technical Reference Manual for Estimating Savings from Energy Efficiency Measures for 2013-2015 Program Years (p190) lists a summer peak coincidence factor (CF) for occupancy sensors of 30% for large C&I retrofit and a winter peak CF of 19% for large C&I retrofit, based on a National Grid study carried out in 2007. While not explicitly stated in the study, it is assumed that these figures pertain to indoor occupancy sensors. The other utilities use much higher CFs for large C&I, but there is no souce study cited. Therefore, we will use the NGrid figures. P190 also lists a summer peak coincidence factor (CF) for occupancy sensors of 18% for small C&I retrofit and a winter peak CF of 12% for small C&I retrofit, based on a study completed in 2012. This study explicitly refers to interior lighting. Among the projects completed between 6/12 and 5/16, 50% of the demand reduction was in large businesses (G3: >200 kW) and 50% in small businesses (G1 & G2: <200 kW). While our G3 category does not exactly equate with the definition of a large business as stated in the TRM, it is close. We have weighted the coincidence factors accordingly. We have assumed that the time of the Eversource peak determines our monthly transmission costs. As of 5/17/16, Laura is working on confirming that. See the Trans Peak Hours (Eversource) tab in CommLightingRecordsandCalculations050515.xls to see those times for a year starting in April 2015. Sunset times do not affect the functionality of occupancy sensors. We will assume that occupancy sensors could be in use through 7pm, meaning that they could affect our peak each month. We will assume 5 months for the summer peak and 7 months for the winter peak.
Note on AM8: Jan Aceti: The Massachusetts Technical Reference Manual for Estimating Savings from Energy Efficiency Measures for 2013-2015 Program Years (p190) lists a summer peak coincidence factor (CF) for daylight dimming of 15% only for large C&I retrofit and a winter peak CF of 0%, only for large C&I retrofit, based on studies carried out in 2005 and 2007. These figures would apply to interior daylight dimming controls, which have an impact on monthly peaks that occur during the daylight hours during which lights are typically on in businesses, since the natural light causes the interior lights to dim. Regarding the number of months peryear that we expect interior photocells to affect our peak, we have assumed that the time of the Eversource peak determines our monthly transmission costs. As of 5/17/16, Laura is working on confirming that. See the Trans Peak Hours (Eversource) tab in CommLightingRecordsandCalculations050515.xls to see those times for a year starting in April 2015. We assume, very conservatively, that lights in businesses are on only until 5pm. Based on that assumption, there are 6 months in which sunset occurs after our monthly peak hour, and therefore 6 months during which natural light could be expected to trigger photocells to dim electric lights. For outdoor lighting, natural light means little or no peak reduction, since the exterior lights are not on when it is light outside. So, for exterior lighting, the summer peak CF is 0%. The winter peak CF is some % greater than 0% for some number of months. The factors that could affect the winter peak CF could include: 1) Were the lights on during the whole peak hour? There was no information specific to exterior lighting in the MTRM. Further, a web search for "Coincidence Factors for Exterior Lighting" did not yield any information. We will assume a winter peak CF of 50%, in absence of any other information. Regarding the number of months per year that we expect exterior lighting to affect our peak, we have assumed that the time of the Eversource peak determines our monthly transmission costs. As of 5/17/16, Laura is working on confirming that. See the Trans Peak Hours (Eversource) tab in CommLightingRecordsandCalculations050515.xls to see those times for a year starting in April 2015. We found the times during which sunset occurs during each month of the year, and assumed that the winter peak CF of 50% would apply only during those three months when the full range of times for sunset occurs before the peak hour. See the Trans Peak Hours (Eversouce) tab for the sunset times as well. During the remaining 9 months, we assume that the CF is 0.
Note on AM9: Jan Aceti: The Massachusetts Technical Reference Manual for Estimating Savings from Energy Efficiency Measures for 2013-2015 Program Years (p190) lists a summer peak coincidence factor (CF) for daylight dimming of 15% only for large C&I retrofit and a winter peak CF of 0%, only for large C&I retrofit, based on studies carried out in 2005 and 2007. These figures would apply to interior daylight dimming controls, which have an impact on monthly peaks that occur during the daylight hours during which lights are typically on in businesses, since the natural light causes the interior lights to dim. Regarding the number of months peryear that we expect interior photocells to affect our peak, we have assumed that the time of the Eversource peak determines our monthly transmission costs. As of 5/17/16, Laura is working on confirming that. See the Trans Peak Hours (Eversource) tab in CommLightingRecordsandCalculations050515.xls to see those times for a year starting in April 2015. We assume, very conservatively, that lights in businesses are on only until 5pm. Based on that assumption, there are 6 months in which sunset occurs after our monthly peak hour, and therefore 6 months during which natural light could be expected to trigger photocells to dim electric lights. For outdoor lighting, natural light means little or no peak reduction, since the exterior lights are not on when it is light outside. So, for exterior lighting, the summer peak CF is 0%. The winter peak CF is some % greater than 0% for some number of months. The factors that could affect the winter peak CF could include: 1) Were the lights on during the whole peak hour? There was no information specific to exterior lighting in the MTRM. Further, a web search for "Coincidence Factors for Exterior Lighting" did not yield any information. We will assume a winter peak CF of 50%, in absence of any other information. Regarding the number of months per year that we expect exterior lighting to affect our peak, we have assumed that the time of the Eversource peak determines our monthly transmission costs. As of 5/17/16, Laura is working on confirming that. See the Trans Peak Hours (Eversource) tab in CommLightingRecordsandCalculations050515.xls to see those times for a year starting in April 2015. We found the times during which sunset occurs during each month of the year, and assumed that the winter peak CF of 50% would apply only during those three months when the full range of times for sunset occurs before the peak hour. See the Trans Peak Hours (Eversouce) tab for the sunset times as well. During the remaining 9 months, we assume that the CF is 0.

## Rebate Calculation
| kW | 0 | (if error occurs - CMLP will correct)
| Annual kWh | 0 | (if error occurs - CMLP will correct)
CMLP's rebate is up to 50% of the lighting upgrade cost, or up to $1,000/kW of reduced demand, whichever is less, up to a maximum of $50,000 per customer every 3 years.
Instructions: Enter information only in yellow cells; the spreadsheet will calculate other cells
|  |  | = |  | =
Do not include in-house labor costs in the Total Project Cost.
STEP 1 COMPARISON DETERMINES WHICH IS LESS:
Standard # 1: 50% of Project Cost |  |  |  |  | = | 0
|  |  | ---- | OR ----
Standard # 2: | 1000 | per kW x | 0 | kW of Reduced Demand | = | 0
|  | Standard # | 2 | Is Less | = | 0
STEP 2 ADD PREVIOUS HELP REBATE AMOUNT (if applicable):
Enter Previous HELP Rebate |  |  | Year of Rebate: |  | =
This Rebate + Any HELP Rebates in Past 3 Years |  |  |  |  | = | 0
STEP 3 COMPARISON DETERMINES WHICH IS LESS:
This Rebate + Any HELP Rebates in Past 3 Years |  |  |  |  | = | 0
|  |  | ---- | OR ----
3 Year Rebate Cap |  |  |  |  | = | 50000
| Rebate |  | = | 0
See Required Documents & Steps (tab #1) for information on IRS forms.
ENERGY SAVINGS SUMMARY
ENTER TOTAL PROJECT COST
LIGHTING UPGRADE REBATE CALCULATION
*** Note: All projects must have pre-installation inspections by CMLP staff ***

## Terms & Conditions Part I
CMLP High Efficiency Lighting Program
Rebate Terms & Conditions
1. ELIGIBILITY
High Efficiency Lighting Program (“Program”) rebates are available to active, non-residential electric customers (“Customers”) of the Concord Municipal Light Plant (herein referred to as CMLP) with CMLP accounts in good standing. Accounts in good standing have no amounts past due at the time the rebate application is submitted. All products must be in use in facilities in CMLP service territory. Rebates are for replacement of existing, operating equipment, not for new lighting being installed in build-outs or new construction. Rebates are for installed and fully functioning equipment only – extra bulbs/ballasts are NOT eligible. Delamping as a sole method of achieving energy efficiency will not be funded. If a tenant, Customer is responsible for obtaining the property owner’s permission to install the product/equipment to which this rebate application pertains. Customer’s signature on this application indicates that this permission has been obtained.
2. APPLICATION
Rebates are offered January 1 through December 31 of each calendar year. Due to limited funding, this rebate offer can be changed or withdrawn at any time without notice and is available on a first-come, first-served basis. The entire rebate application must be read and filled out completely or application will be returned. CMLP reserves the right to reject or modify any calculations, based on CMLP’s own analysis. CMLP may require the customer to provide other documentation regarding the proposed equipment installation. Rebate funding will not be provided without submittal and written CMLP approval of the rebate application prior to installation.
3. INSPECTION AND VERIFICATION
CMLP reserves the right to inspect the customer’s facility through on-site visits before, during, and after new equipment installation to verify rebate eligibility. The customer acknowledges and agrees that no activity by CMLP includes any kind of safety, code or other compliance review. If CMLP determines that any equipment was not installed in accordance with these Terms and Conditions, the Program Materials or CMLP’s rebate application approval, CMLP shall have the right to require modifications before making any rebate payments. At its discretion, CMLP may also withhold payment of rebates until it has been verified that the customer has received, as appropriate, final drawings, operation and maintenance manuals, and operator training. Customer understands that CMLP may contact the product vendor and/or product installer, if needed, to verify purchase and/or installation and may provide customer’s name and/or address to complete this verification. CMLP reserves the right to install a metering device on existing and new equipment to verify energy savings.
4. INSTALLATION AND REBATE AMOUNTS
Qualifying energy-efficient equipment installed and operational within six (6) months of the rebate application approval is eligible for rebate, subject to compliance with these Terms and Conditions. Additional time may be granted subject to CMLP’s pre-approval. In no case will the rebate paid by CMLP exceed 50% of the purchase price of the equipment combined with the cost of installation, or $1,000 per kW of reduced demand, whichever is less. The cost of installation does not include in-house labor costs. If delamping constitutes a significant portion of the project cost, CMLP reserves the right to revise the rebate accordingly. The maximum rebate amount is $50,000 per Customer during any 3 year period, beginning with any rebates recieved on or after 1/1/17. A “Customer” is defined by a unique internal customer number in CMLP’s billing system. In most cases, a Customer with multiple accounts will have the same customer number assigned to them. However, if a business or property owner or manager in Concord has multiple customer numbers in CMLP’s billing system, CMLP can, at its sole discretion, define them as a single “Customer.”
(Continued on tab "Terms and Conditions Part II")
2018-12-11

## Terms & Conditions Part II
CMLP High Efficiency Lighting Program
Rebate Terms & Conditions (continued)
5. INVOICE AND PAYMENT
Following completed installation and inspection and verification (see #3), the Customer must submit invoices specifying the quantity and price of all materials purchased, installation costs, and applicable taxes. The Customer must submit to CMLP the Commercial Lighting Waste Disposal Form found in application materials. After satisfactory review of the invoices, and lighting waste disposal form, a rebate will be issued to the customer. The customer may assign the rebate directly to the product vendor or product installer. CMLP shall use commercially reasonable efforts to pay each rebate amount within forty-five (45) days after satisfactory review of the required post-installation documentation described in this section.
6. QUALIFYING EQUIPMENT
Customer shall be responsible for ensuring that the equipment is installed and operated in accordance with applicable laws, regulations, codes and Program Materials and that all applicable permits and inspections are obtained. Resale products, rebuilt, rented, received from warranty or insurance claims, exchanges, won as a prize, do not qualify for a rebate.
7. TAX INFORMATION
CMLP will not be responsible for any tax liability imposed as a result of the rebate payment(s). Customers are advised to consult their tax advisors for details.
8. DISCLAIMER
CMLP does not guarantee that the implementation of Energy Efficiency Measures (EEMs) or use of the equipment purchased or installed pursuant to this Program will result in energy or cost savings. CMLP makes no warranties, expressed or implied, with respect to any equipment purchased or installed including, but not limited to, any warrant of merchantability or fitness for purpose. In no event shall CMLP be liable for any incidental or consequential damages. Customers are solely responsible for the proper disposal of existing equipment.
9. INDEMNIFICATION AND LIMITATION OF CMLP’S LIABILITY
Customer shall indemnify, defend and hold harmless CMLP, the Town of Concord, their affiliates and their respective contractors, officers, directors, employees, agents, representatives from and against any and all claims, damages, losses and expenses, including reasonable attorneys’ fees and costs incurred to enforce this indemnity, arising out of, resulting from, or related to the Program or the performance of any services or other work in connection with the Program (“Damages”), caused or alleged to be caused in whole or in part by any actual or alleged act or omission of the Customer, any subcontractor, agent, or third party, or anyone directly or indirectly employed by any of them or anyone for whose acts any of them may be liable.
(Continued on tab "Terms & Conditions Part III")
2018-12-11

## Terms & Conditions Part III
CMLP High Efficiency Lighting Program
Rebate Terms & Conditions (continued)
To the fullest extent allowed by law, CMLP’s aggregate liability, regardless of the number of claims, shall be limited to paying approved rebates in accordance with these Terms and Conditions and the Program Materials, and CMLP and its affiliates and their respective contractors, officers, directors, employees, agents, representatives shall not be liable to the Customer or any other party for any other obligation. To the fullest extent allowed by law and as part of the consideration for participation in the Program, the Customer waives and releases CMLP and its affiliates from all obligations (other than payment of a rebate), and for any liability or claim associated with the EEMs, the performance of the EEMs, the Program, or these Terms and Conditions.
10. NO WARRANTIES OR REPRESENTATIONS BY CMLP
(a) CMLP DOES NOT ENDORSE, GUARANTEE, OR WARRANT ANY CONTRACTOR, MANUFACTURER OR PRODUCT, AND CMLP MAKES NO WARRANTIES OR GUARANTEES IN CONNECTION WITH ANY PROJECT, OR ANY SERVICES PERFORMED IN CONNECTION HEREWITH OR THEREWITH, WHETHER STATUTORY, ORAL, WRITTEN, EXPRESS, OR IMPLIED, INCLUDING, WITHOUT LIMITATION, WARRANTIES OF MERCHANTABILITY AND FITNESS FOR A PARTICULAR PURPOSE. THIS DISCLAIMER SHALL SURVIVE ANY CANCELLATION, COMPLETION, TERMINATION OR EXPIRATION OF THE CUSTOMER’S PARTICIPATION IN THE PROGRAM. CUSTOMER ACKNOWLEDGES AND AGREES THAT ANY WARRANTIES PROVIDED BY ORIGINAL MANUFACTURERS, LICENSORS, OR PROVIDERS OF MATERIAL, EQUIPMENT, OR OTHER ITEMS PROVIDED OR USED IN CONNECTION WITH THE PROGRAM UNDER THESE TERMS AND CONDITIONS, INCLUDING ITEMS INCORPORATED IN THE PROGRAM, (“THIRD PARTY WARRANTIES”) ARE NOT TO BE CONSIDERED WARRANTIES OF CMLP AND CMLP MAKES NO REPRESENTATIONS, GUARANTEES, OR WARRANTIES AS TO THE APPLICABILITY OR ENFORCEABILITY OF ANY SUCH THIRD PARTY WARRANTIES. THE TERMS OF THIS SECTION SHALL GOVERN OVER ANY CONTRARY VERBAL STATEMENTS OR LANGUAGE APPEARING IN ANY OF CMLP’S OTHER DOCUMENTS.
(b) Neither CMLP nor any of its employees or contractors is responsible for determining that the design, engineering or installation of the EEMs is proper or complies with any particular laws, codes, or industry standards. CMLP does not make any representations of any kind regarding the benefits or energy savings to be achieved by the EEMs or the adequacy or safety of the EEMs.
(c) Customer acknowledges and agrees that it is solely responsible (directly-based on its own judgment or indirectly-based on the advice of an independent expert (not the CMLP)) for all aspects of the EEMs and related work including, but not limited to: selecting the equipment; selecting contractors to perform the work; inspecting the work and the equipment; ensuring that the equipment is in good working order and condition; ensuring that the equipment is of the manufacture, design specifications, size and capacity selected by the Customer and that the same is properly installed and suitable for Customer’s purposes; and determining if work was properly performed.
(d) Customer agrees and acknowledges that CMLP is not a manufacturer of, or regularly engaged in the sale or distribution of, or an expert with regard to, any equipment or work.
(Continued on tab "Terms & Conditions Part IV")
2018-12-11

## Terms & Conditions Part IV
CMLP High Efficiency Lighting Program
Rebate Terms & Conditions (continued)
(e) The provisions of this Section 10 shall survive the termination, cancellation or completion of the Customer’s participation in the Program.
11. EQUIPMENT AND CONTRACTOR SELECTION AND CONTRACTING
Customer is responsible for selecting & purchasing the EEMs and selecting and contracting with the design and installation contractor(s). The Customer shall be responsible for enforcing all such contracts and for assuring that the EEMs meet Program requirements and applicable laws, regulations and codes, and that the contractor(s) are properly qualified, licensed & insured.
Notwithstanding the foregoing, the Customer acknowledges that CMLP reserves the right to deny a vendor or contractor to participate in this Program or provide equipment or services. CMLP also has the right to exclude certain equipment from the Program.
12. REMOVAL OF EQUIPMENT
The Customer agrees, as a condition of participation in the Program to properly remove and dispose of or recycle the equipment, lamps and components in accordance with all applicable laws, and regulations and codes. The Customer agrees not to re-install any of removed equipment in the service territory of the CMLP, and assumes all risk and liability associated with the reuse and disposal thereof.
13. ENERGY BENEFITS
Other than the energy cost savings realized by Customer, the CMLP is entitled to 100% of the benefits and rights associated with the EEMs, including without limitation ISO-NE products and all other attributes, credits or products associated therewith under any regional initiative or federal, state or local law, program or regulation or program, and Customer waives, and agrees not to seek, any right to the same.
14. PROGRAM / TERMS AND CONDITIONS CHANGES
Program expenditures, requirements and eligibility, and these Terms & Conditions, may be changed by CMLP at any time without notice. CMLP reserves the right, for any reason, to withhold approval of projects and any EEMs, and to cancel or alter the Program, at any time without notice. Approved applications will be processed under the Terms and Conditions and Program Materials in effect at the time of the pre-approval by the CMLP. “Program Materials” means the documents and information provided by CMLP specifying the qualifying EEMs, technology requirements, costs and other Program requirements, which include, without limitation, program guidelines and requirements, application forms and approval letters.
I have read and agree to the Rebate Terms and Conditions.
Authorized Signature: __________________________________________________________
Name: _______________________________________________________________________
Company Name: ____________________________________________ Date: ____________
***Note: All projects must have pre-installation inspections by CMLP staff***
---- END ----- December 11, 2018

## Lighting Waste Disposal Form
Appendix A to Rebate Terms and Conditions
Lighting Waste Disposal Form
Customer Business Name: _____________________________________________________
Project Address: _____________________________________________________________
Lighting Contractor / Installer: ___________________________________________________
Waste rules include: The U.S. EPA and State of Massachusetts Universal Waste Rule (310 CMR 30.1000) for disposal of lamps containing mercury, and the U.S. Toxics Substance Control Act and EPA Rules for disposal of ballasts containing PCBs.
All lamps and ballasts from this project were disposed of in accordance with applicable federal, state and local waste disposal regulations.
Documentation of disposal method is or will be provided. An invoice, receipt, bill of lading or hazardous waste manifest must be provided to document disposal of fluorescent lamps and ballasts from this project within six (6) months of the completion of the project. Either the CMLP customer or the project contractor (or vendor) may provide the documentation.
SECTION 1 LAMP DISPOSAL
Number of fluorescent LAMPS disposed of: 4-ft. _____ 8-ft. ______ Other Size __________
HID lamp count: Mercury Vapor _____, Metal Halide_____, High Pressure Sodium ______
Disposal Method (check all that apply):
Recycled Recycling firm name: _____________________________
Hazardous waste disposal event or facility
Other (describe) __________________________________________
SECTION 2 PCB BALLAST DISPOSAL
Number of PCB BALLASTS disposed of: ________________
Disposal Method (check all that apply):
Recycled Recycling firm name: _____________________________
Hazardous waste disposal event or facility
Other (describe) ___________________________________________
SECTION 3 AUTHORIZED SIGNATURES
The signee(s) of this form certifies all ballasts and lamps were removed from service and disposed of in accordance with above waste rules.
_______________________________________________________________________
Lighting Contractor / Installer / Vendor Date
_______________________________________________________________________
Owner / Business Representative Date
2018-12-11

## Technology Req. Part I
Concord Municipal Light Plant
High Efficiency Lighting Program - Technology Requirements
All High Efficiency Lighting Program projects shall comply with the following requirements in order to qualify for a rebate.
Part I: Acceptable Products
Solid State (includes LED) Lighting
Solid state lighting must be on the Design Lights Consortium (DLC) Qualified Products List
or the Energy Star-qualified commercial products list
Exit Lighting
Exit signs must be Light Emitting Diode (LED), Electroluminescent or Cold Cathode type,
and replace existing incandescent or fluorescent signs. New signs must use 5 Watts or less.
Occupancy Sensors and Electronic Timers:
1) Occupancy sensors shall be UL listed or CSA classified
2) Occupancy sensors shall be provided with manual sensitivity adjustment and an adjustable
or fixed-time delay during which controlled luminaires remain on after the space is vacated.
Fixed-time delays shall be at least 30 seconds and no more than 30 minutes.
3) Wall mounted occupancy sensors must operate as Automatic ON and OFF
4) Wall mounted vacancy sensors must operate as Manual ON, Automatic OFF
5) Ballasts for high bay fluorescent (HIF) occupancy control systems must be
automatically controlled based on occupancy. Systems with manual 'ON' or override
switches are not eligible.
6) Occupancy sensors shall be provided with a minium 3-year manufacturer's warranty
7) Electronic timers shall be capable of automatic shut-off of lights in unoccupied space.
Time range shall be adjustable for 5 minutes to 12 hours.
8) Electronic timers shall have a visual warning when automatic shut-off is imminent when
controlling interior lighting.
Daylighting Controls:
1) Electronic dimming ballast shall control the light output of the lamps continuously within the range of 10% to 100% light output
2) Daylighting sensors shall be adjusted and commissioned, with maximum trim adjusted for no more than 120% of target light level
Continued on tab "Technology Req. Part II"
revised
2018-12-11

## Technology Req. Part II
Concord Municipal Light Plant
High Efficiency Lighting Program - Technology Requirements (con't)
Part II: Installation
1) Delamped fixtures shall have the ballast and lamp holder wire leads cut. Ballast and unused sockets must be removed from the fixture and the ballast cover labeled "delamped."
2) Ballasts removed from a fixture must have the power leads cut at the ballast so that they are permanently disabled
3) CMLP shall be notified when the work will be performed
4) CMLP reserves the right to inspect installations for program compliance before, during, at, and after the time of substantial completion
5) Contractor shall provide materials and labor warranty for one year from date of installation
Part III: Disposal – Lamps and Ballasts
1) All lamps and ballasts must be disposed of in accordance with applicable federal, state, and local waste disposal regulations
2) Submit Lighting Waste Disposal Form at end of project
Part IV: Rebate Eligibility
Lamps not funded under our program:
1) T12 VHO, T12 HO, T10 VHO and T10 HO fluorescent lamps
2) Incandescent lamps
3) Low voltage incandescent lamps
4) Halogen lamps
5) Mercury vapor lamps
6) Exit signs with fluorescent lamps
Other conditions where funding is not allowed:
1) Extra bulbs / ballasts are not eligible. Rebates are for installed equipment only.
2) Delamping as a sole method of achieving energy efficiency will not be funded. If delamping constitutes a significant portion of the project cost, CMLP reserves the right to revise the rebate accordingly.
CMLP reserves the right to make changes to the
High Efficiency Lighting Program Technology Requirements at its discretion.
----- END ----
revised
2018-12-11